## Slide 2
Anthony Arroyo
Presenter
Applications Engineer
Meet Our Team
Syed Abidi
Panelist
Applications Engineer
Allison Oba
Organizer
Marketing Coordinator
Copyright 2016 Associated Research

## Slide 3
Webinar Notes
  Please use the Q & A utility to ask us any questions concerning the material being presented.
  Any questions related to running of the meeting (audio and visual, etc) can be addressed to the host (Allison Oba) through the chat line.
  The Webinar is being recorded and will be available to view usually within a day on our website.
  Please contact Allison Oba - chat line or email allison.oba@arisafety.com if you would like a copy of the presentation.
Copyright 2016 Associated Research

## Slide 4: Previous Webinar Recap – Electrical Safety Testing 201
Testing with Multiplexers
Batch testing
Data Collection
Collecting and managing data
Software control and remote operation
Common Electrical Safety Tests
Hipot testing
Ground Bond/Ground Continuity testing
Touch Current testing
Label printing
Methods of data acquisition
Copyright 2016 Associated Research

## Slide 5
Operator
10 Things a Qualified Operator Should Know
Building Safeguards
Stations with positive protection
Additional Safety Methods
Additional means for safe testing -PPE
Safety
Shock Hazards
Effects of Current on the Human Body
Station without positive protection
Training Resources
Copyright 2016 Associated Research
Safe Workstation – Learning Objectives

## Slide 6
Contact is made with one point of a circuit and ground.
Contact is made with a “hot” metallic part while a person is at ground potential.
Contact is made with two points of a circuit.
Potential Shock Hazards
Copyright 2016 Associated Research

## Slide 7
Physical condition & response.
The path of the electrical current through the body.
The duration or length of time the person is exposed.
The magnitude of the voltage and current flow.
The frequency of the supply voltage.
Severity of Electric Shock is Influenced by
Copyright 2016 Associated Research

## Slide 8
Effects of Electrical Current on the Body
Copyright 2016 Associated Research

## Slide 9
The human body on an average has about 1000 to 1500 ohms resistance.
The outer layer of the skin provides the largest resistance.
The skin has a breakdown voltage at which it is simply “punctured” leaving only the lower resistance body tissue to impede the flow of current in the body.
Human Body Resistance
Copyright 2016 Associated Research

## Slide 10
Poll Question 1
How many training hours do your operators receive before using test equipment?
Copyright 2016 Associated Research

## Slide 11
Copyright 2016 Associated Research
Determine if exposed conductor is energized.
Know how to use the equipment,
read the specs!
The Qualified Test Operator – 10 Things to Know

## Slide 12
Copyright 2016 Associated Research
Understand approach distances and corresponding voltage
- AR instruments can output 10 – 20,000 VAC or VDC
Understand the relationship between electrical hazard and possible injury
- Effects of electrical current on the human body
Know the safety features of the equipment and how to utilize them
- SmartGFI, interlock and automatic discharge
The Qualified Test Operator – 10 Things to Know

## Slide 13
Copyright 2016 Associated Research
The Qualified Test Operator – 10 Things to Know
Determine if PPE is necessary, what type and how it’s rated
Know the methods of release for victims who are being shocked. DO NOT TOUCH SOMEONE WHO IS BEING SHOCKED.

## Slide 14
Copyright 2016 Associated Research
Understand that the tester is a variable voltage power source.
Contacting the DUT during the test can result in a dangerous shock hazard.
Know the importance of discharging the DUT
There must be a complete path for an instrument to discharge. Be wary all leads are connected for testing.
Each step in a work plan must be executed
DO NOT take shortcuts
The Qualified Test Operator – 10 Things to Know

## Slide 15
Building Safeguards into a Station
Be aware of all nearby hazards
Use PPE (Personal Protective Equipment)
Cabling and insulation
Enclosure designed to remove shock hazard

## Slide 16
Copyright 2016 Associated Research
Methods of Safety Testing
Testing Station with Positive Protection

## Slide 17
Copyright 2016 Associated Research
Methods of Safety Testing
Testing Station with NO Positive Protection
Such a station does not protect the user from touching the DUT during a test.

## Slide 18
Poll Question 2
What PPE Accessories do you utilize in your workstation?

## Slide 19: Test Station with Positive Protection

## Slide 20
Test Station without Positive Protection

## Slide 21
Copyright 2016 Associated Research
Additional Methods for Operator Safety
Dual Palm Remote Switch
This does NOT allow the operator to touch the DUT as their hands must remain on the test switches during the test.
Simultaneous activation – activation of both within 0.5 seconds.

## Slide 22
Copyright 2016 Associated Research
Additional Methods for Operator Safety
Signal Lights
Mounted lights warn operators in the nearby area to the status of the Hipot test and if the instrument is outputting high voltage.
Illuminates red when test is active – mounted in plain site for entire work area.

## Slide 23
Copyright 2016 Associated Research
Additional Methods for Operator Safety
Insulation Mat
Isolates the operator from ground while testing which greatly mitigates he shock hazard.

## Slide 24
Insert Video Title

## Slide 25
Copyright 2016 Associated Research
OSHA 29 CFR part 1910.332 Subpart S
  Defines the training requirements for anyone exposed to voltages in excess of 50 volts
  Employees must be qualified to work on or near exposed energized parts
NFPA 70E: Standard for Electrical Safety in the Workplace 2012
  Explains reason behind the rule and how to comply
  Safe work practices, PPE and lockout/tagout procedures
Training Resources
BS EN 50191:2010
  Erection and Operation of Electrical Test Equipment
  Defines recommended setups for electrical testing stations

## Slide 26
Contact Us
If you would like a copy of this presentation please contact Allison Oba at allison.oba@arisafety.com
Check out our website for more information arisafety.com
Follow Us!
@ARHypot
Associated Research, Inc.